| HVAC Measures | Efficiency Standard |
| --- | --- |
| Boiler replacements | 95% AFUE |
| Furnace | 96% AFUE or higher, ECM motor |
| Gas water heater tank < 75,000 BTU | 0.68 UEF |
| Gas water heater tank > 75,000 BTU | 88% efficient |
| Gas water heater tankless | 0.88 UEF |
| Heat pump water heater | Xcel rebate eligible* |
| Building controls, economizers, steam traps, and tune-ups | - HVAC or boiler controls or steam traps - Fan controls or demand-controlled ventilation - New or repair economizer or controls - RTU, boiler, or other tune-ups/optimizations |
| Air source heat pumps (SEER2, EER2, HSFP2) | Central (ducted): 15.2 SEER2, 8.1 HSFP2 Minisplit (ductless): 16 SEER2, 9.0 HSFP2 |
| Rooftop units (Standard or dual fuel) | <5.4 tons: 11.4 EER2 and 13.5 SEER2 or greater 5.4 - 11.3 tons: 11.0 EER and 14.7 IEER or greater 11.4 - 19.9 tons: 10.8 EER and 14.1 IEER or greater 20 – 63.3 tons: 9.8 EER and 13.1 IEER or greater > 63.3 tons: 9.5 EER and 12.4 IEER or greater |
| Motor upgrades | ECM fan motors |
| LED lighting | - Fluorescent to LED and new construction LED* - LED to LED upgrades: networked lighting controls recommended, case-by-case basis |
| Refrigeration Measures |  |
| Door upgrades | - Auto close doors or strip curtains - No heat case doors |
| Refrigeration controls | - Defrost controls - Floating head pressure controls - Evaporator fan motor controller - Anti-sweat heater controls |
| Case upgrades | Enclosed reach-in cases, multi-deck cases, etc. |
| Motor upgrades | ECM or PMS equipment motors |
| Efficient lighting | DLC listed or EnergySTAR certified |
| Acronym Definitions |  |
| AFUE - Annual fuel utilization efficiency ECM - Electronically commutated motor EER - Energy efficiency ratio EF - Energy factor | HSFP - Heating seasonal performance factor IEER - Integrated energy efficiency ratio SEER - Seasonal energy efficiency rating UEF - Uniform energy factor |

*Equivalent to or higher than Xcel’s minimum rebate standards